## 2021
| 1 April 2021 | 31 May 2021 | 17 July 2021 | 6 December 2021
Treated daily volume | 76,868 m³ | 172,961 m³ | 240,236 m³
Total treated volume |  |  |  | 341,289 m³
Discharge started | 1 April 2021 00:55 | 31 May 2021 13:30 | 17 July 2021 08:38 | 6 December 2021 06:35
Discharge ended | 1 April 2021 01:50 | 31 May 2021 16:07 | 18 July 2021 00:55 | 7 December 2021 13:05
Duration | 55 minutes | 2 hours 37 minutes | 16 hours 17 minutes | 30 hours 30 minutes
Treated volume during discharge | 10,132 m³ | 28,014 m³ | 171,145 m³
Partially treated volume during discharge | 296 m³ | 2,177 m³ | 24,774 m³ | 20,528 m³
Dilution ratio during discharge (treated to partially treated) | 34:1 | 13:1 | 7:1
Dilution ratio |  |  |  | 17:1

## 2020
| 2020-03-29 | 2020-05-03 | 2020-06-04 | 2020-06-18 | 2020-11-08
Treated daily volume | 127,083 m³ | 92,066 m³ | 109,440 m³ | 233,484 m³ | 152,853 m³
Discharge started | 29 March 2020 | 3 May 2020 18:34 | 4 June 2020 22:50 | 18 June 2020 08:57 | 8 November 2020
Discharge ended | 29 March 2020 | 3 May 2020 19:18 | 5 June 2020 00:33 | 19 June 2020 12:47 | 8 November 2020
Duration | 2 hours 52 minutes | 0 hours 44 minutes | 1 hour 43 minutes | 27 hours 50 minutes | 4 hours 40 minutes
Treated volume during discharge | 28,408 m³ | 1,583 m³ | 10,681 m³ | 212,757 m³ | 46,327 m³
Partially treated volume during discharge | 3,099 m³ | 143 m³ | 368 m³ | 19,724 m³ | 2,928 m³
Dilution ratio during discharge (treated to partially treated) | 9:1 | 11:1 | 29:1 | 11:1 | 16:1

## 2019
| 08 March 2019 | 07 April 2019 | 11 April 2019 | 14 July 2019 | 11 November 2019
Treated daily volume | 139,356 m³ | 116,302 m³ | 185,576 m³ | 126,642 m³ | 158,840 m³
Discharge started | 8 March 2019 13:22 | 7 April 2019 03:03 | 11 April 2019 18:33 | 14 July 2019 11:34 | 11 Nov 2019 05:55
Discharge ended | 8 March 2019 14:29 | 7 April 2019 04:20 | 11 April 2019 23:29 | 14 July 2019 12:45 | 11 Nov 2019 15:29
Duration | 1 hours 6 minutes | 1 hour 16 minutes | 4 hours 56 minutes | 1 hour 10 minutes | 9 hour 34 minutes
Treated volume during discharge | 11,906 m³ | 11,906 m³ | 59,315 m³ | 11,389 m³ | 92,135 m³
Partially treated volume during discharge | 200 m³ | 235 m³ | 6,349 m³ | 249 m³ | 11,447 m³
Dilution ratio during discharge (treated to partially treated) | 60:1 | 57:1 | 9:1 | 46:1 | 8:1

## 2018
| 20 February 2018 | 8 July 2018
Treated daily volume | 223,053 m³ | 97,549 m³
Discharge started | 20 February 2018, 11.00am | 8 July 2018 20:02
Discharge ended | 21 February 2018, 02.12am | 9 July 2018 07:04
Duration | 15 hours 12 minutes | 11 hours 2 minutes
Treated volume during discharge | 145,113 m³ | 204,942 m³
Partially treated volume during discharge | 6,841 m³ | 7,304 m³
Dilution ratio during discharge (treated to partially treated) | 21:1 | 13:1

## 2017
| 02 February 2017 | 12 March 2017 | 2017-03-15 | 05 April 2017 | 13 July 2017
Treated daily volume | 121,243 m³ | 158,653 m³ | N/A | 442,150 m³ | 212,421 m³
Discharge started | 17.49pm | 9.09am | 15 March 2017 20.30pm | 5 April 2017, 20.07pm | 13 July 2017, 19.50pm
Discharge ended | 17.52pm | 14.01pm | 15 March 2017 22.30pm | 6 April 2017, 18.20pm | 14 July 2017, 05.36am
Duration | 3 minutes | 4 hours 52 minutes | 2 hours 0 minutes | 22 hours 13 minutes | 9 hours 46 minutes
Treated volume during discharge | 361 m³ | 56,021 m³ | N/A | 232,652 m³ | 98,124 m³
Partially treated volume during discharge | 78 m³ | 3,151 m³ | 6,000 m³ | 35,051 m³ | 9,780 m³
Dilution ratio during discharge (treated to partially treated) | 5:1 | 18:1 | N/A | 7:1 | 10:1

## 2016
| 13 August 2016 | 18 September 2016 | 12 November 2016 | 15 November 2016
Treated daily volume | 191,901 m³ | 193,702 m³ | 232,800 m³ | 229,857 m³
Discharge started | 9:05 | 6:59 | 5:28 | 9:30
Discharge ended | 18:41 | 16:25 | 22:24 | 20:15
Duration | 9 hours 36 minutes | 9 hours 27 minutes | 17 hours 14 minutes | 10 hours 45 minutes
Treated volume during discharge | 94,066 m³ | 116,221 m³ | 155,744 m³ | 102,673 m³
Partially treated volume during discharge | 2,214 m³ | 13,885 m³ | 18,549 m³ | 21,405 m³
Dilution ratio during discharge (treated to partially treated) | 42:1 | 8:1 | 8:1 | 5:1

## 2015
| 28 April 2015 | 15 May 2015
Treated daily volume | 96,815 m³ | 216,166 m³
Discharge started | 5.58am | 3.07am
Discharge ended | 7.04am | 4.57am
Duration | 1 hour 6 minutes | 1 hour 50 minutes
Treated volume during discharge | 7,984 m³ | 19,271 m³
Partially treated volume during discharge | 420 m³ | 1,477 m³
Dilution ratio during discharge(treated to partially treated) | 19:1 | 13:1

## 2014
16 May 2014
Treated daily volume | 214,412 m³
Discharge started | 10:33
Discharge ended | 11:48
Duration | 1 hour 15 minutes
Treated volume during discharge | 14,355 m³
Partially treated volume during discharge | 816 m³
Dilution ratio during discharge (treated to partially treated) | 18:1

## 2013
2013-05-06
Treated daily volume | 208,721 m³
Discharge started | 09:33
Discharge ended | 20:38
Duration | 11 hours 5 minutes
Treated volume during discharge | 103,278 m³
Partially treated volume during discharge | 13,942 m³
Dilution ratio during discharge (treated to partially treated) | 7:1

## 2012
| 03 March 2012 | 06 June 2012 | 25 July 2012 | 09 August 2012
Treated daily volume | 173,658 m³ | 169,927 m³ | 150,576 m³ | 162,752 m³
Discharge started | 09:17 | 20:10 | 01:29 | 10:31
Discharge ended | 12:10 | 22:48 | 03:44 | 12:47
Duration | 2 hours 53 minutes | 2 hours 38 minutes | 2 hours 15 minutes | 2 hours 15 minutes
Treated volume during discharge | 4,690.3 m³ | 30,696 m³ | 25,887 m³ | 26,293 m³
Partially treated volume during discharge | 1,989.6 m³ | 642 m³ | 320 m³ | 1,059 m³
Dilution ratio during discharge (treated to partially treated) | 17:1 | 48:1 | 81:1 | 25:1

## 2011
| 15 May 2011 | 31 December 2011
Treated daily volume | 184,404 m³ | 152,185 m³
Discharge started | 13:07 | 9:26
Discharge ended | 18:20 | 12:20
Duration | 5 hours 13 minutes | 2 hours 54 minutes
Treated volume during discharge | 59,565 m³ | 35,676 m³
Partially treated volume during discharge | 404 m³ | 1,328 m³
Dilution ratio during discharge (treated to partially treated) | 148:1 | 27:1

## 2010
| 7 June 2010 | 30 September 2010 | 28 December 2010
Treated daily volume | 151,554 m³ | 194,412.9 m³ | 115,262 m³
Discharge started | 12:48 | 11:03 | 10:12
Discharge ended | 14:20 | 20:00 | 11:28
Duration | 1 hour 32 minutes | 8 hours 57 minutes | 1 hour 16 minutes
Treated volume during discharge | 8,611 m³ | 103,195 m³ | 13,992 m³
Partially treated volume during discharge | 2,870.4 m³ | 9,431 m³ | 310 m³
Dilution ratio during discharge (treated to partially treated) | 3:1 | 11:1 | 45:1